## Blad1
var decoderMapReadable = map[uint8]oTValue
	0	: {	"ch_enabled", "dhw_enabled", "cooling_enabled", "otc_active", "ch2_enabled", "reserved1", "reserved2", "reserved3", "fault_indication", "ch_active", "dhw_active", "flame_active", "cooling_active", "ch2_active", "diagnostic_event", "reserved4"	},
	1	: {	"control_setpoint"	},
	2	: {	"master_configuration"	},
	3	: {	"dhw_present", "control_type", "cooling_supported", "dhw_storage_tank_present", "master_control_allowed", "ch2_present", "reserved", "reserved", "slave_memberID"	},
	5	: {	"service_required", "remote_reset_enabled", "low_water_pressure_fault", "gas_flame_fault", "air_pressure_fault", "water_over_temperture_fault", "reserved", "reserved", "oem_fault_code"	},
	7	: {	"cooling_control_signal"	},
	8	: {	"control_setpoint_2"	},
	9	: {	"remote_override_room_setpoint"	},
	10	: {	"number_of_tsps"	},
	11	: {	"tsp_index", "tsp_value"	},
	12	: {	"size_of_fault_buffer "	},
	13	: {	"fhb_fault_index", "fhb_fault_value"	},
	14	: {	"maximum_relative_modulation_level_setting"	},
	15	: {	"maximum_boiler_capacity", "minimum_boiler_modulation"	},
	16	: {	"room_setpoint"	},
	17	: {	"relative_modulation_level"	},
	18	: {	"ch_water_pressure"	},
	19	: {	"dhw_flow_rate"	},
	20	: {	"weekday", "hour", "minutes"	},
	21	: {	"month", "day"	},
	22	: {	"year"	},
	23	: {	"room_setpoint_ch2"	},
	24	: {	"room_temperature"	},
	25	: {	"boiler_water_temp"	},
	26	: {	"dhw_temperature"	},
	27	: {	"outside_temperature"	},
	28	: {	"return_water_temperature"	},
	29	: {	"solar_storage_temperature"	},
	30	: {	"solar_collector_temperature"	},
	31	: {	"flow_temperature_ch2"	},
	32	: {	"dhw2_temperature"	},
	33	: {	"exhaust_temperature"	},
	48	: {	"dhwsetpoint_upper_bound", "dhwsetpoint_lower_bound"	},
	49	: {	"max_chsetp_upper_bound", "max_chsetp_lower_bound"	},
	56	: {	"dhw_setpoint"	},
	57	: {	"max_ch_water_setpoint"	},
	100	: {	"manual_setpoint_overrules_remote_setpoint", "program_change_setpoint_overrides_remote_setpoint", "reserved", "reserved", "reserved", "reserved", "reserved", "reserved"	},
	115	: {	"oem_diagnostic_code"	},
	116	: {	"burner_starts"	},
	117	: {	"ch_pump_starts"	},
	118	: {	"dhw_pump_valve_starts"	},
	119	: {	"dhw_burner_starts"	},
	120	: {	"burner_operation_hours"	},
	121	: {	"ch_pump_operation_hours"	},
	122	: {	"dhw_pump_valve_operation_hours"	},
	123	: {	"dhw_burner_operation_hours"	},
	124	: {	"opentherm_version_master"	},
	125	: {	"opentherm_version_slave"	},
	126	: {	"master_product_version_number", "master_product_type"	},
	127	: {	"slave_product_version_number", "slave_product_type"	},
}

	0	: {	"CH enable", "DHW enable", "Cooling enable", "OTC active", "CH2 enable", "reserved", "reserved", "reserved", "Fault indication", "CH mode", "DHW mode", "Flame status", "Cooling status", "CH2 mode", "Diagnostic Event", "reserved"	},
	1	: {	"Temperature setpoint for the supply from the boiler in degrees C"	},
	2	: {	"MemberID code of the master"	},
	3	: {	"DHW present [ dhw not present, dhw is present ]", "Control type [ modulating, on/off ]", "Cooling config [ cooling not supported, cooling supported]", "DHW config [instantaneous or not-specified, storage tank]", "Master low-off&pump control function [allowed, not allowed]", "CH2 present [CH2 not present, CH2 present]", "reserved", "reserved", "MemberID code of the slave"	},
	5	: {	"Service request [service not req’d, service required]", "Lockout-reset [ remote reset disabled, rr enabled]", "Low water press [no WP fault, water pressure fault]", "Gas/flame fault [ no G/F fault, gas/flame fault ]", "Air press fault [ no AP fault, air pressure fault ]", "Water over-temp[no OvT fault, over-temperat. Fault]", "reserved", "reserved", "OEM fault code u8 0..255 An OEM-specific fault/error code"	},
	7	: {	"Signal for cooling plant"	},
	8	: {	"Temperature setpoint for the supply from the boiler for circuit 2 in degrees C"	},
	9	: {	"Remote override room setpoint (0 = No override)"	},
	10	: {	"Number of transparent-slave-parameter supported by the slave device"	},
	11	: {	"Index number of following TSP", "Value of above referenced TSP"	},
	12	: {	"The size of the fault history buffer"	},
	13	: {	"Index number of following Fault Buffer entry", "Value of above referenced Fault Buffer entry"	},
	14	: {	"Maximum relative boiler modulation level setting for sequencer and off-low&pump control applications (%)"	},
	15	: {	"Maximum boiler capacity (kW)", "Minimum modulation level (%)"	},
	16	: {	"Current room temperature setpoint (°C)"	},
	17	: {	"Relative modulation level (%)"	},
	18	: {	"Water pressure of the boiler CH circuit (bar)"	},
	19	: {	"Water flow rate through the DHW circuit (l/min)"	},
	20	: {	"Day of the week (1=Monday)", "Hours", "Minutes"	},
	21	: {	"Month", "Day of Month"	},
	22	: {	"Year"	},
	23	: {	"Current room setpoint for 2nd CH circuit (°C)"	},
	24	: {	"Current sensed room temperature (°C)"	},
	25	: {	"Flow water temperature from boiler (°C)"	},
	26	: {	"Domestic hot water temperature (°C)"	},
	27	: {	"Outside air temperature (°C)"	},
	28	: {	"Return water temperature to boiler (°C)"	},
	29	: {	"Solar storage temperature (°C)"	},
	30	: {	"Solar collector temperature (°C)"	},
	31	: {	"Flow water temperature of the second central heating circuit"	},
	32	: {	"Domestic hot water temperature 2 (°C)"	},
	33	: {	"Exhaust temperature (°C)"	},
	48	: {	"Upper bound for adjustment of DHW setp (°C)", "Lower bound for adjustment of DHW setp (°C)"	},
	49	: {	"Upper bound for adjustment of maxCHsetp (°C)", "Lower bound for adjustment of maxCHsetp (°C)"	},
	56	: {	"Domestic hot water temperature setpoint (°C)"	},
	57	: {	"Maximum allowable CH water setpoint (°C)"	},
	100	: {	"Manual change priority [0 = disable overruling remote setpoint by manual setpoint change, 1 = enable overruling remote setpoint by manual setpoint change]", "Program change priority [0 = disable overruling remote setpoint by program setpoint change, 1 = enable overruling remote setpoint by program setpoint change]", "reserved", "reserved", "reserved", "reserved", "reserved", "reserved"	},
	115	: {	"OEM-specific diagnostic/service code"	},
	116	: {	"Number of starts burner"	},
	117	: {	"Number of starts CH pump"	},
	118	: {	"Number of starts DHW pump/valve"	},
	119	: {	"Number of starts burner in DHW mode"	},
	120	: {	"Number of hours that burner is in operation (i.e.flame on)"	},
	121	: {	"Number of hours that CH pump has been running"	},
	122	: {	"Number of hours that DHW pump has been running or DHW valve has been opened"	},
	123	: {	"Number of hours that burner is in operation during DHW mode"	},
	124	: {	"The implemented version of the OpenTherm Protocol Specification in the master"	},
	125	: {	"The implemented version of the OpenTherm Protocol Specification in the slave"	},
	126	: {	"The master device product version number as defined by the manufacturer", "The master device product type as defined by the manufacturer"	},
	127	: {	"The slave device product version number as defined by the manufacturer", "The slave device product type as defined by the manufacturer"	},

	0	: {	cTypeFlag8, cTypeFlag8	},		cTypeFlag8	cTypeFlag8	[]string
	1	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	2	: {	cTypeNone, cTypeU8	},		cTypeNone	cTypeU8	[]string
	3	: {	cTypeFlag8, cTypeU8	},		cTypeFlag8	cTypeU8	[]string
	5	: {	cTypeFlag8, cTypeU8	},		cTypeFlag8	cTypeU8	[]string
	7	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	8	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	9	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	10	: {	cTypeU8, cTypeU8	},		cTypeU8	cTypeU8	[]string
	11	: {	cTypeU8, cTypeU8	},		cTypeU8	cTypeU8	[]string
	12	: {	cTypeU8, cTypeNone	},		cTypeU8	cTypeNone	[]string
	13	: {	cTypeU8, cTypeU8	},		cTypeU8	cTypeU8	[]string
	14	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	15	: {	cTypeU8, cTypeU8	},		cTypeU8	cTypeU8	[]string
	16	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	17	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	18	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	19	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	20	: {	cTypeU8WDT, cTypeU8	},		cTypeU8WDT	cTypeU8	[]string
	21	: {	cTypeU8, cTypeU8	},		cTypeU8	cTypeU8	[]string
	22	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	23	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	24	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	25	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	26	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	27	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	28	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	29	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	30	: {	cTypeS16, cTypeNone	},		cTypeS16	cTypeNone	[]string
	31	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	32	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	33	: {	cTypeS16, cTypeNone	},		cTypeS16	cTypeNone	[]string
	48	: {	cTypeS8, cTypeS8	},		cTypeS8	cTypeS8	[]string
	49	: {	cTypeS8, cTypeS8	},		cTypeS8	cTypeS8	[]string
	56	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	57	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	100	: {	cTypeNone, cTypeFlag8	},		cTypeNone	cTypeFlag8	[]string
	115	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	116	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	117	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	118	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	119	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	120	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	121	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	122	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	123	: {	cTypeU16, cTypeNone	},		cTypeU16	cTypeNone	[]string
	124	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	125	: {	cTypeF8_8, cTypeNone	},		cTypeF8_8	cTypeNone	[]string
	126	: {	cTypeU8, cTypeU8	},		cTypeU8	cTypeU8	[]string
	127	: {	cTypeU8, cTypeU8	},		cTypeU8	cTypeU8	[]string

	0		ch_enabled	dhw_enabled	cooling_enabled	otc_active	ch2_enabled	reserved1	reserved2	reserved3	fault_indication	ch_active	dhw_active	flame_active	cooling_active	ch2_active	diagnostic_event	reserved4
	1		control_setpoint
	2		master_configuration
	3		dhw_present	control_type	cooling_supported	dhw_storage_tank_present	master_control_allowed	ch2_present	reserved	reserved	slave_memberID
	5		service_required	remote_reset_enabled	low_water_pressure_fault	gas_flame_fault	air_pressure_fault	water_over_temperture_fault	reserved	reserved	oem_fault_code
	7		cooling_control_signal
	8		control_setpoint_2
	9		remote_override_room_setpoint
	10		number_of_tsps
	11		tsp_index	tsp_value
	12		size_of_fault_buffer
	13		fhb_fault_index	fhb_fault_value
	14		maximum_relative_modulation_level_setting
	15		maximum_boiler_capacity	minimum_boiler_modulation
	16		room_setpoint
	17		relative_modulation_level
	18		ch_water_pressure
	19		dhw_flow_rate
	20		weekday	hour	minutes
	21		month	day
	22		year
	23		room_setpoint_ch2
	24		room_temperature
	25		boiler_water_temp
	26		dhw_temperature
	27		outside_temperature
	28		return_water_temperature
	29		solar_storage_temperature
	30		solar_collector_temperature
	31		flow_temperature_ch2
	32		dhw2_temperature
	33		exhaust_temperature
	48		dhwsetpoint_upper_bound	dhwsetpoint_lower_bound
	49		max_chsetp_upper_bound	max_chsetp_lower_bound
	56		dhw_setpoint
	57		max_ch_water_setpoint
	100		manual_setpoint_overrules_remote_setpoint	program_change_setpoint_overrides_remote_setpoint	reserved	reserved	reserved	reserved	reserved	reserved
	115		oem_diagnostic_code
	116		burner_starts
	117		ch_pump_starts
	118		dhw_pump_valve_starts
	119		dhw_burner_starts
	120		burner_operation_hours
	121		ch_pump_operation_hours
	122		dhw_pump_valve_operation_hours
	123		dhw_burner_operation_hours
	124		opentherm_version_master
	125		opentherm_version_slave
	126		master_product_version_number	master_product_type
	127		slave_product_version_number	slave_product_type

	0		CH enable	DHW enable	Cooling enable	OTC active	CH2 enable	reserved	reserved	reserved	Fault indication	CH mode	DHW mode	Flame status	Cooling status	CH2 mode	Diagnostic Event	reserved
	1		Temperature setpoint for the supply from the boiler in degrees C
	2		MemberID code of the master
	3		DHW present [ dhw not present, dhw is present ]	Control type [ modulating, on/off ]	Cooling config [ cooling not supported, cooling supported]	DHW config [instantaneous or not-specified, storage tank]	Master low-off&pump control function [allowed, not allowed]	CH2 present [CH2 not present, CH2 present]	reserved	reserved	MemberID code of the slave
	5		Service request [service not req’d, service required]	Lockout-reset [ remote reset disabled, rr enabled]	Low water press [no WP fault, water pressure fault]	Gas/flame fault [ no G/F fault, gas/flame fault ]	Air press fault [ no AP fault, air pressure fault ]	Water over-temp[no OvT fault, over-temperat. Fault]	reserved	reserved	OEM fault code u8 0..255 An OEM-specific fault/error code
	7		Signal for cooling plant
	8		Temperature setpoint for the supply from the boiler for circuit 2 in degrees C
	9		Remote override room setpoint (0 = No override)
	10		Number of transparent-slave-parameter supported by the slave device
	11		Index number of following TSP	Value of above referenced TSP
	12		The size of the fault history buffer
	13		Index number of following Fault Buffer entry	Value of above referenced Fault Buffer entry
	14		Maximum relative boiler modulation level setting for sequencer and off-low&pump control applications (%)
	15		Maximum boiler capacity (kW)	Minimum modulation level (%)
	16		Current room temperature setpoint (°C)
	17		Relative modulation level (%)
	18		Water pressure of the boiler CH circuit (bar)
	19		Water flow rate through the DHW circuit (l/min)
	20		Day of the week (1=Monday)	Hours	Minutes
	21		Month	Day of Month
	22		Year
	23		Current room setpoint for 2nd CH circuit (°C)
	24		Current sensed room temperature (°C)
	25		Flow water temperature from boiler (°C)
	26		Domestic hot water temperature (°C)
	27		Outside air temperature (°C)
	28		Return water temperature to boiler (°C)
	29		Solar storage temperature (°C)
	30		Solar collector temperature (°C)
	31		Flow water temperature of the second central heating circuit
	32		Domestic hot water temperature 2 (°C)
	33		Exhaust temperature (°C)
	48		Upper bound for adjustment of DHW setp (°C)	Lower bound for adjustment of DHW setp (°C)
	49		Upper bound for adjustment of maxCHsetp (°C)	Lower bound for adjustment of maxCHsetp (°C)
	56		Domestic hot water temperature setpoint (°C)
	57		Maximum allowable CH water setpoint (°C)
	100		Manual change priority [0 = disable overruling remote setpoint by manual setpoint change, 1 = enable overruling remote setpoint by manual setpoint change]	Program change priority [0 = disable overruling remote setpoint by program setpoint change, 1 = enable overruling remote setpoint by program setpoint change]	reserved	reserved	reserved	reserved	reserved	reserved
	115		OEM-specific diagnostic/service code
	116		Number of starts burner
	117		Number of starts CH pump
	118		Number of starts DHW pump/valve
	119		Number of starts burner in DHW mode
	120		Number of hours that burner is in operation (i.e.flame on)
	121		Number of hours that CH pump has been running
	122		Number of hours that DHW pump has been running or DHW valve has been opened
	123		Number of hours that burner is in operation during DHW mode
	124		The implemented version of the OpenTherm Protocol Specification in the master
	125		The implemented version of the OpenTherm Protocol Specification in the slave
	126		The master device product version number as defined by the manufacturer	The master device product type as defined by the manufacturer
	127		The slave device product version number as defined by the manufacturer	The slave device product type as defined by the manufacturer

		1000	0	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17
	1000		10000;store_ch_enabled = NO # CH enable	10001;store_dhw_enabled = NO # DHW enable	10002;store_cooling_enabled = NO # Cooling enable	10003;store_otc_active = NO # OTC active	10004;store_ch2_enabled = NO # CH2 enable	10005;store_reserved1 = NO # reserved	10006;store_reserved2 = NO # reserved	10007;store_reserved3 = NO # reserved	10008;store_fault_indication = NO # Fault indication	10009;store_ch_active = NO # CH mode	100010;store_dhw_active = NO # DHW mode	100011;store_flame_active = NO # Flame status	100012;store_cooling_active = NO # Cooling status	100013;store_ch2_active = NO # CH2 mode	100014;store_diagnostic_event = NO # Diagnostic Event	100015;store_reserved4 = NO # reserved
	1001		10010;store_control_setpoint = NO # Temperature setpoint for the supply from the boiler in degrees C
	1002		10020;store_master_configuration = NO # MemberID code of the master
	1003		10030;store_dhw_present = NO # DHW present [ dhw not present, dhw is present ]	10031;store_control_type = NO # Control type [ modulating, on/off ]	10032;store_cooling_supported = NO # Cooling config [ cooling not supported, cooling supported]	10033;store_dhw_storage_tank_present = NO # DHW config [instantaneous or not-specified, storage tank]	10034;store_master_control_allowed = NO # Master low-off&pump control function [allowed, not allowed]	10035;store_ch2_present = NO # CH2 present [CH2 not present, CH2 present]	10036;store_reserved = NO # reserved	10037;store_reserved = NO # reserved	10038;store_slave_memberID = NO # MemberID code of the slave
	1005		10050;store_service_required = NO # Service request [service not req’d, service required]	10051;store_remote_reset_enabled = NO # Lockout-reset [ remote reset disabled, rr enabled]	10052;store_low_water_pressure_fault = NO # Low water press [no WP fault, water pressure fault]	10053;store_gas_flame_fault = NO # Gas/flame fault [ no G/F fault, gas/flame fault ]	10054;store_air_pressure_fault = NO # Air press fault [ no AP fault, air pressure fault ]	10055;store_water_over_temperture_fault = NO # Water over-temp[no OvT fault, over-temperat. Fault]	10056;store_reserved = NO # reserved	10057;store_reserved = NO # reserved	10058;store_oem_fault_code = NO # OEM fault code u8 0..255 An OEM-specific fault/error code
	1007		10070;store_cooling_control_signal = NO # Signal for cooling plant
	1008		10080;store_control_setpoint_2 = NO # Temperature setpoint for the supply from the boiler for circuit 2 in degrees C
	1009		10090;store_remote_override_room_setpoint = NO # Remote override room setpoint (0 = No override)
	1010		10100;store_number_of_tsps = NO # Number of transparent-slave-parameter supported by the slave device
	1011		10110;store_tsp_index = NO # Index number of following TSP	10111;store_tsp_value = NO # Value of above referenced TSP
	1012		10120;store_size_of_fault_buffer = NO # The size of the fault history buffer
	1013		10130;store_fhb_fault_index = NO # Index number of following Fault Buffer entry	10131;store_fhb_fault_value = NO # Value of above referenced Fault Buffer entry
	1014		10140;store_maximum_relative_modulation_level_setting = NO # Maximum relative boiler modulation level setting for sequencer and off-low&pump control applications (%)
	1015		10150;store_maximum_boiler_capacity = NO # Maximum boiler capacity (kW)	10151;store_minimum_boiler_modulation = NO # Minimum modulation level (%)
	1016		10160;store_room_setpoint = NO # Current room temperature setpoint (°C)
	1017		10170;store_relative_modulation_level = NO # Relative modulation level (%)
	1018		10180;store_ch_water_pressure = NO # Water pressure of the boiler CH circuit (bar)
	1019		10190;store_dhw_flow_rate = NO # Water flow rate through the DHW circuit (l/min)
	1020		10200;store_weekday = NO # Day of the week (1=Monday)	10201;store_hour = NO # Hours	10202;store_minutes = NO # Minutes
	1021		10210;store_month = NO # Month	10211;store_day = NO # Day of Month
	1022		10220;store_year = NO # Year
	1023		10230;store_room_setpoint_ch2 = NO # Current room setpoint for 2nd CH circuit (°C)
	1024		10240;store_room_temperature = NO # Current sensed room temperature (°C)
	1025		10250;store_boiler_water_temp = NO # Flow water temperature from boiler (°C)
	1026		10260;store_dhw_temperature = NO # Domestic hot water temperature (°C)
	1027		10270;store_outside_temperature = NO # Outside air temperature (°C)
	1028		10280;store_return_water_temperature = NO # Return water temperature to boiler (°C)
	1029		10290;store_solar_storage_temperature = NO # Solar storage temperature (°C)
	1030		10300;store_solar_collector_temperature = NO # Solar collector temperature (°C)
	1031		10310;store_flow_temperature_ch2 = NO # Flow water temperature of the second central heating circuit
	1032		10320;store_dhw2_temperature = NO # Domestic hot water temperature 2 (°C)
	1033		10330;store_exhaust_temperature = NO # Exhaust temperature (°C)
	1048		10480;store_dhwsetpoint_upper_bound = NO # Upper bound for adjustment of DHW setp (°C)	10481;store_dhwsetpoint_lower_bound = NO # Lower bound for adjustment of DHW setp (°C)
	1049		10490;store_max_chsetp_upper_bound = NO # Upper bound for adjustment of maxCHsetp (°C)	10491;store_max_chsetp_lower_bound = NO # Lower bound for adjustment of maxCHsetp (°C)
	1056		10560;store_dhw_setpoint = NO # Domestic hot water temperature setpoint (°C)
	1057		10570;store_max_ch_water_setpoint = NO # Maximum allowable CH water setpoint (°C)
	1100		11000;store_manual_setpoint_overrules_remote_setpoint = NO # Manual change priority [0 = disable overruling remote setpoint by manual setpoint change, 1 = enable overruling remote setpoint by manual setpoint change]	11001;store_program_change_setpoint_overrides_remote_setpoint = NO # Program change priority [0 = disable overruling remote setpoint by program setpoint change, 1 = enable overruling remote setpoint by program setpoint change]	11002;store_reserved = NO # reserved	11003;store_reserved = NO # reserved	11004;store_reserved = NO # reserved	11005;store_reserved = NO # reserved	11006;store_reserved = NO # reserved	11007;store_reserved = NO # reserved
	1115		11150;store_oem_diagnostic_code = NO # OEM-specific diagnostic/service code
	1116		11160;store_burner_starts = NO # Number of starts burner
	1117		11170;store_ch_pump_starts = NO # Number of starts CH pump
	1118		11180;store_dhw_pump_valve_starts = NO # Number of starts DHW pump/valve
	1119		11190;store_dhw_burner_starts = NO # Number of starts burner in DHW mode
	1120		11200;store_burner_operation_hours = NO # Number of hours that burner is in operation (i.e.flame on)
	1121		11210;store_ch_pump_operation_hours = NO # Number of hours that CH pump has been running
	1122		11220;store_dhw_pump_valve_operation_hours = NO # Number of hours that DHW pump has been running or DHW valve has been opened
	1123		11230;store_dhw_burner_operation_hours = NO # Number of hours that burner is in operation during DHW mode
	1124		11240;store_opentherm_version_master = NO # The implemented version of the OpenTherm Protocol Specification in the master
	1125		11250;store_opentherm_version_slave = NO # The implemented version of the OpenTherm Protocol Specification in the slave
	1126		11260;store_master_product_version_number = NO # The master device product version number as defined by the manufacturer	11261;store_master_product_type = NO # The master device product type as defined by the manufacturer
	1127		11270;store_slave_product_version_number = NO # The slave device product version number as defined by the manufacturer	11271;store_slave_product_type = NO # The slave device product type as defined by the manufacturer

	1
1	1	1	10000;store_ch_enabled = NO # CH enable
2	1	2	10010;store_control_setpoint = NO # Temperature setpoint for the supply from the boiler in degrees C
3	1	3	10020;store_master_configuration = NO # MemberID code of the master
4	1	4	10030;store_dhw_present = NO # DHW present [ dhw not present, dhw is present ]
5	1	5	10050;store_service_required = NO # Service request [service not req’d, service required]
6	1	6	10070;store_cooling_control_signal = NO # Signal for cooling plant
7	1	7	10080;store_control_setpoint_2 = NO # Temperature setpoint for the supply from the boiler for circuit 2 in degrees C
8	1	8	10090;store_remote_override_room_setpoint = NO # Remote override room setpoint (0 = No override)
9	1	9	10100;store_number_of_tsps = NO # Number of transparent-slave-parameter supported by the slave device
10	1	10	10110;store_tsp_index = NO # Index number of following TSP
11	1	11	10120;store_size_of_fault_buffer = NO # The size of the fault history buffer
12	1	12	10130;store_fhb_fault_index = NO # Index number of following Fault Buffer entry
13	1	13	10140;store_maximum_relative_modulation_level_setting = NO # Maximum relative boiler modulation level setting for sequencer and off-low&pump control applications (%)
14	1	14	10150;store_maximum_boiler_capacity = NO # Maximum boiler capacity (kW)
15	1	15	10160;store_room_setpoint = NO # Current room temperature setpoint (°C)
16	1	16	10170;store_relative_modulation_level = NO # Relative modulation level (%)
17	1	17	10180;store_ch_water_pressure = NO # Water pressure of the boiler CH circuit (bar)
18	1	18	10190;store_dhw_flow_rate = NO # Water flow rate through the DHW circuit (l/min)
19	1	19	10200;store_weekday = NO # Day of the week (1=Monday)
20	1	20	10210;store_month = NO # Month
21	1	21	10220;store_year = NO # Year
22	1	22	10230;store_room_setpoint_ch2 = NO # Current room setpoint for 2nd CH circuit (°C)
23	1	23	10240;store_room_temperature = NO # Current sensed room temperature (°C)
24	1	24	10250;store_boiler_water_temp = NO # Flow water temperature from boiler (°C)
25	1	25	10260;store_dhw_temperature = NO # Domestic hot water temperature (°C)
26	1	26	10270;store_outside_temperature = NO # Outside air temperature (°C)
27	1	27	10280;store_return_water_temperature = NO # Return water temperature to boiler (°C)
28	1	28	10290;store_solar_storage_temperature = NO # Solar storage temperature (°C)
29	1	29	10300;store_solar_collector_temperature = NO # Solar collector temperature (°C)
30	1	30	10310;store_flow_temperature_ch2 = NO # Flow water temperature of the second central heating circuit
31	1	31	10320;store_dhw2_temperature = NO # Domestic hot water temperature 2 (°C)
32	1	32	10330;store_exhaust_temperature = NO # Exhaust temperature (°C)
33	1	33	10480;store_dhwsetpoint_upper_bound = NO # Upper bound for adjustment of DHW setp (°C)
34	1	34	10490;store_max_chsetp_upper_bound = NO # Upper bound for adjustment of maxCHsetp (°C)
35	1	35	10560;store_dhw_setpoint = NO # Domestic hot water temperature setpoint (°C)
36	1	36	10570;store_max_ch_water_setpoint = NO # Maximum allowable CH water setpoint (°C)
37	1	37	11000;store_manual_setpoint_overrules_remote_setpoint = NO # Manual change priority [0 = disable overruling remote setpoint by manual setpoint change, 1 = enable overruling remote setpoint by manual setpoint change]
38	1	38	11150;store_oem_diagnostic_code = NO # OEM-specific diagnostic/service code
39	1	39	11160;store_burner_starts = NO # Number of starts burner
40	1	40	11170;store_ch_pump_starts = NO # Number of starts CH pump
41	1	41	11180;store_dhw_pump_valve_starts = NO # Number of starts DHW pump/valve
42	1	42	11190;store_dhw_burner_starts = NO # Number of starts burner in DHW mode
43	1	43	11200;store_burner_operation_hours = NO # Number of hours that burner is in operation (i.e.flame on)
44	1	44	11210;store_ch_pump_operation_hours = NO # Number of hours that CH pump has been running
45	1	45	11220;store_dhw_pump_valve_operation_hours = NO # Number of hours that DHW pump has been running or DHW valve has been opened
46	1	46	11230;store_dhw_burner_operation_hours = NO # Number of hours that burner is in operation during DHW mode
47	1	47	11240;store_opentherm_version_master = NO # The implemented version of the OpenTherm Protocol Specification in the master
48	1	48	11250;store_opentherm_version_slave = NO # The implemented version of the OpenTherm Protocol Specification in the slave
49	1	49	11260;store_master_product_version_number = NO # The master device product version number as defined by the manufacturer
50	1	50	11270;store_slave_product_version_number = NO # The slave device product version number as defined by the manufacturer
51	2	1	10001;store_dhw_enabled = NO # DHW enable
52	2	2
53	2	3
54	2	4	10031;store_control_type = NO # Control type [ modulating, on/off ]
55	2	5	10051;store_remote_reset_enabled = NO # Lockout-reset [ remote reset disabled, rr enabled]
56	2	6
57	2	7
58	2	8
59	2	9
60	2	10	10111;store_tsp_value = NO # Value of above referenced TSP
61	2	11
62	2	12	10131;store_fhb_fault_value = NO # Value of above referenced Fault Buffer entry
63	2	13
64	2	14	10151;store_minimum_boiler_modulation = NO # Minimum modulation level (%)
65	2	15
66	2	16
67	2	17
68	2	18
69	2	19	10201;store_hour = NO # Hours
70	2	20	10211;store_day = NO # Day of Month
71	2	21
72	2	22
73	2	23
74	2	24
75	2	25
76	2	26
77	2	27
78	2	28
79	2	29
80	2	30
81	2	31
82	2	32
83	2	33	10481;store_dhwsetpoint_lower_bound = NO # Lower bound for adjustment of DHW setp (°C)
84	2	34	10491;store_max_chsetp_lower_bound = NO # Lower bound for adjustment of maxCHsetp (°C)
85	2	35
86	2	36
87	2	37	11001;store_program_change_setpoint_overrides_remote_setpoint = NO # Program change priority [0 = disable overruling remote setpoint by program setpoint change, 1 = enable overruling remote setpoint by program setpoint change]
88	2	38
89	2	39
90	2	40
91	2	41
92	2	42
93	2	43
94	2	44
95	2	45
96	2	46
97	2	47
98	2	48
99	2	49	11261;store_master_product_type = NO # The master device product type as defined by the manufacturer
100	2	50	11271;store_slave_product_type = NO # The slave device product type as defined by the manufacturer
101	3	1	10002;store_cooling_enabled = NO # Cooling enable
102	3	2
103	3	3
104	3	4	10032;store_cooling_supported = NO # Cooling config [ cooling not supported, cooling supported]
105	3	5	10052;store_low_water_pressure_fault = NO # Low water press [no WP fault, water pressure fault]
106	3	6
107	3	7
108	3	8
109	3	9
110	3	10
111	3	11
112	3	12
113	3	13
114	3	14
115	3	15
116	3	16
117	3	17
118	3	18
119	3	19	10202;store_minutes = NO # Minutes
120	3	20
121	3	21
122	3	22
123	3	23
124	3	24
125	3	25
126	3	26
127	3	27
128	3	28
129	3	29
130	3	30
131	3	31
132	3	32
133	3	33
134	3	34
135	3	35
136	3	36
137	3	37	11002;store_reserved = NO # reserved
138	3	38
139	3	39
140	3	40
141	3	41
142	3	42
143	3	43
144	3	44
145	3	45
146	3	46
147	3	47
148	3	48
149	3	49
150	3	50
151	4	1	10003;store_otc_active = NO # OTC active
152	4	2
153	4	3
154	4	4	10033;store_dhw_storage_tank_present = NO # DHW config [instantaneous or not-specified, storage tank]
155	4	5	10053;store_gas_flame_fault = NO # Gas/flame fault [ no G/F fault, gas/flame fault ]
156	4	6
157	4	7
158	4	8
159	4	9
160	4	10
161	4	11
162	4	12
163	4	13
164	4	14
165	4	15
166	4	16
167	4	17
168	4	18
169	4	19
170	4	20
171	4	21
172	4	22
173	4	23
174	4	24
175	4	25
176	4	26
177	4	27
178	4	28
179	4	29
180	4	30
181	4	31
182	4	32
183	4	33
184	4	34
185	4	35
186	4	36
187	4	37	11003;store_reserved = NO # reserved
188	4	38
189	4	39
190	4	40
191	4	41
192	4	42
193	4	43
194	4	44
195	4	45
196	4	46
197	4	47
198	4	48
199	4	49
200	4	50
201	5	1	10004;store_ch2_enabled = NO # CH2 enable
202	5	2
203	5	3
204	5	4	10034;store_master_control_allowed = NO # Master low-off&pump control function [allowed, not allowed]
205	5	5	10054;store_air_pressure_fault = NO # Air press fault [ no AP fault, air pressure fault ]
206	5	6
207	5	7
208	5	8
209	5	9
210	5	10
211	5	11
212	5	12
213	5	13
214	5	14
215	5	15
216	5	16
217	5	17
218	5	18
219	5	19
220	5	20
221	5	21
222	5	22
223	5	23
224	5	24
225	5	25
226	5	26
227	5	27
228	5	28
229	5	29
230	5	30
231	5	31
232	5	32
233	5	33
234	5	34
235	5	35
236	5	36
237	5	37	11004;store_reserved = NO # reserved
238	5	38
239	5	39
240	5	40
241	5	41
242	5	42
243	5	43
244	5	44
245	5	45
246	5	46
247	5	47
248	5	48
249	5	49
250	5	50
251	6	1	10005;store_reserved1 = NO # reserved
252	6	2
253	6	3
254	6	4	10035;store_ch2_present = NO # CH2 present [CH2 not present, CH2 present]
255	6	5	10055;store_water_over_temperture_fault = NO # Water over-temp[no OvT fault, over-temperat. Fault]
256	6	6
257	6	7
258	6	8
259	6	9
260	6	10
261	6	11
262	6	12
263	6	13
264	6	14
265	6	15
266	6	16
267	6	17
268	6	18
269	6	19
270	6	20
271	6	21
272	6	22
273	6	23
274	6	24
275	6	25
276	6	26
277	6	27
278	6	28
279	6	29
280	6	30
281	6	31
282	6	32
283	6	33
284	6	34
285	6	35
286	6	36
287	6	37	11005;store_reserved = NO # reserved
288	6	38
289	6	39
290	6	40
291	6	41
292	6	42
293	6	43
294	6	44
295	6	45
296	6	46
297	6	47
298	6	48
299	6	49
300	6	50
301	7	1	10006;store_reserved2 = NO # reserved
302	7	2
303	7	3
304	7	4	10036;store_reserved = NO # reserved
305	7	5	10056;store_reserved = NO # reserved
306	7	6
307	7	7
308	7	8
309	7	9
310	7	10
311	7	11
312	7	12
313	7	13
314	7	14
315	7	15
316	7	16
317	7	17
318	7	18
319	7	19
320	7	20
321	7	21
322	7	22
323	7	23
324	7	24
325	7	25
326	7	26
327	7	27
328	7	28
329	7	29
330	7	30
331	7	31
332	7	32
333	7	33
334	7	34
335	7	35
336	7	36
337	7	37	11006;store_reserved = NO # reserved
338	7	38
339	7	39
340	7	40
341	7	41
342	7	42
343	7	43
344	7	44
345	7	45
346	7	46
347	7	47
348	7	48
349	7	49
350	7	50
351	8	1	10007;store_reserved3 = NO # reserved
352	8	2
353	8	3
354	8	4	10037;store_reserved = NO # reserved
355	8	5	10057;store_reserved = NO # reserved
356	8	6
357	8	7
358	8	8
359	8	9
360	8	10
361	8	11
362	8	12
363	8	13
364	8	14
365	8	15
366	8	16
367	8	17
368	8	18
369	8	19
370	8	20
371	8	21
372	8	22
373	8	23
374	8	24
375	8	25
376	8	26
377	8	27
378	8	28
379	8	29
380	8	30
381	8	31
382	8	32
383	8	33
384	8	34
385	8	35
386	8	36
387	8	37	11007;store_reserved = NO # reserved
388	8	38
389	8	39
390	8	40
391	8	41
392	8	42
393	8	43
394	8	44
395	8	45
396	8	46
397	8	47
398	8	48
399	8	49
400	8	50
401	9	1	10008;store_fault_indication = NO # Fault indication
402	9	2
403	9	3
404	9	4	10038;store_slave_memberID = NO # MemberID code of the slave
405	9	5	10058;store_oem_fault_code = NO # OEM fault code u8 0..255 An OEM-specific fault/error code
406	9	6
407	9	7
408	9	8
409	9	9
410	9	10
411	9	11
412	9	12
413	9	13
414	9	14
415	9	15
416	9	16
417	9	17
418	9	18
419	9	19
420	9	20
421	9	21
422	9	22
423	9	23
424	9	24
425	9	25
426	9	26
427	9	27
428	9	28
429	9	29
430	9	30
431	9	31
432	9	32
433	9	33
434	9	34
435	9	35
436	9	36
437	9	37
438	9	38
439	9	39
440	9	40
441	9	41
442	9	42
443	9	43
444	9	44
445	9	45
446	9	46
447	9	47
448	9	48
449	9	49
450	9	50
451	10	1	10009;store_ch_active = NO # CH mode
452	10	2
453	10	3
454	10	4
455	10	5
456	10	6
457	10	7
458	10	8
459	10	9
460	10	10
461	10	11
462	10	12
463	10	13
464	10	14
465	10	15
466	10	16
467	10	17
468	10	18
469	10	19
470	10	20
471	10	21
472	10	22
473	10	23
474	10	24
475	10	25
476	10	26
477	10	27
478	10	28
479	10	29
480	10	30
481	10	31
482	10	32
483	10	33
484	10	34
485	10	35
486	10	36
487	10	37
488	10	38
489	10	39
490	10	40
491	10	41
492	10	42
493	10	43
494	10	44
495	10	45
496	10	46
497	10	47
498	10	48
499	10	49
500	10	50
501	11	1	100010;store_dhw_active = NO # DHW mode
502	11	2
503	11	3
504	11	4
505	11	5
506	11	6
507	11	7
508	11	8
509	11	9
510	11	10
511	11	11
512	11	12
513	11	13
514	11	14
515	11	15
516	11	16
517	11	17
518	11	18
519	11	19
520	11	20
521	11	21
522	11	22
523	11	23
524	11	24
525	11	25
526	11	26
527	11	27
528	11	28
529	11	29
530	11	30
531	11	31
532	11	32
533	11	33
534	11	34
535	11	35
536	11	36
537	11	37
538	11	38
539	11	39
540	11	40
541	11	41
542	11	42
543	11	43
544	11	44
545	11	45
546	11	46
547	11	47
548	11	48
549	11	49
550	11	50
551	12	1	100011;store_flame_active = NO # Flame status
552	12	2
553	12	3
554	12	4
555	12	5
556	12	6
557	12	7
558	12	8
559	12	9
560	12	10
561	12	11
562	12	12
563	12	13
564	12	14
565	12	15
566	12	16
567	12	17
568	12	18
569	12	19
570	12	20
571	12	21
572	12	22
573	12	23
574	12	24
575	12	25
576	12	26
577	12	27
578	12	28
579	12	29
580	12	30
581	12	31
582	12	32
583	12	33
584	12	34
585	12	35
586	12	36
587	12	37
588	12	38
589	12	39
590	12	40
591	12	41
592	12	42
593	12	43
594	12	44
595	12	45
596	12	46
597	12	47
598	12	48
599	12	49
600	12	50
601	13	1	100012;store_cooling_active = NO # Cooling status
602	13	2
603	13	3
604	13	4
605	13	5
606	13	6
607	13	7
608	13	8
609	13	9
610	13	10
611	13	11
612	13	12
613	13	13
614	13	14
615	13	15
616	13	16
617	13	17
618	13	18
619	13	19
620	13	20
621	13	21
622	13	22
623	13	23
624	13	24
625	13	25
626	13	26
627	13	27
628	13	28
629	13	29
630	13	30
631	13	31
632	13	32
633	13	33
634	13	34
635	13	35
636	13	36
637	13	37
638	13	38
639	13	39
640	13	40
641	13	41
642	13	42
643	13	43
644	13	44
645	13	45
646	13	46
647	13	47
648	13	48
649	13	49
650	13	50
651	14	1	100013;store_ch2_active = NO # CH2 mode
652	14	2
653	14	3
654	14	4
655	14	5
656	14	6
657	14	7
658	14	8
659	14	9
660	14	10
661	14	11
662	14	12
663	14	13
664	14	14
665	14	15
666	14	16
667	14	17
668	14	18
669	14	19
670	14	20
671	14	21
672	14	22
673	14	23
674	14	24
675	14	25
676	14	26
677	14	27
678	14	28
679	14	29
680	14	30
681	14	31
682	14	32
683	14	33
684	14	34
685	14	35
686	14	36
687	14	37
688	14	38
689	14	39
690	14	40
691	14	41
692	14	42
693	14	43
694	14	44
695	14	45
696	14	46
697	14	47
698	14	48
699	14	49
700	14	50
701	15	1	100014;store_diagnostic_event = NO # Diagnostic Event
702	15	2
703	15	3
704	15	4
705	15	5
706	15	6
707	15	7
708	15	8
709	15	9
710	15	10
711	15	11
712	15	12
713	15	13
714	15	14
715	15	15
716	15	16
717	15	17
718	15	18
719	15	19
720	15	20
721	15	21
722	15	22
723	15	23
724	15	24
725	15	25
726	15	26
727	15	27
728	15	28
729	15	29
730	15	30
731	15	31
732	15	32
733	15	33
734	15	34
735	15	35
736	15	36
737	15	37
738	15	38
739	15	39
740	15	40
741	15	41
742	15	42
743	15	43
744	15	44
745	15	45
746	15	46
747	15	47
748	15	48
749	15	49
750	15	50
751	16	1	100015;store_reserved4 = NO # reserved
752	16	2
753	16	3
754	16	4
755	16	5
756	16	6
757	16	7
758	16	8
759	16	9
760	16	10
761	16	11
762	16	12
763	16	13
764	16	14
765	16	15
766	16	16
767	16	17
768	16	18
769	16	19
770	16	20
771	16	21
772	16	22
773	16	23
774	16	24
775	16	25
776	16	26
777	16	27
778	16	28
779	16	29
780	16	30
781	16	31
782	16	32
783	16	33
784	16	34
785	16	35
786	16	36
787	16	37
788	16	38
789	16	39
790	16	40
791	16	41
792	16	42
793	16	43
794	16	44
795	16	45
796	16	46
797	16	47
798	16	48
799	16	49
800	16	50

## Blad2
10000	store_	air_pressure_fault = NO # Air press fault [ no AP fault, air pressure fault ]	store_air_pressure_fault = NO # Air press fault [ no AP fault, air pressure fault ]
10001	store_	boiler_water_temp = NO # Flow water temperature from boiler (°C)	store_boiler_water_temp = NO # Flow water temperature from boiler (°C)
10002	store_	burner_operation_hours = NO # Number of hours that burner is in operation (i.e.flame on)	store_burner_operation_hours = NO # Number of hours that burner is in operation (i.e.flame on)
10003	store_	burner_starts = NO # Number of starts burner	store_burner_starts = NO # Number of starts burner
10004	store_	ch_active = NO # CH mode	store_ch_active = NO # CH mode
10005	store_	ch_enabled = NO # CH enable	store_ch_enabled = NO # CH enable
10006	store_	ch_pump_operation_hours = NO # Number of hours that CH pump has been running	store_ch_pump_operation_hours = NO # Number of hours that CH pump has been running
10007	store_	ch_pump_starts = NO # Number of starts CH pump	store_ch_pump_starts = NO # Number of starts CH pump
10008	store_	ch_water_pressure = NO # Water pressure of the boiler CH circuit (bar)	store_ch_water_pressure = NO # Water pressure of the boiler CH circuit (bar)
10009	store_	ch2_active = NO # CH2 mode	store_ch2_active = NO # CH2 mode
10010	store_	ch2_enabled = NO # CH2 enable	store_ch2_enabled = NO # CH2 enable
10020	store_	ch2_present = NO # CH2 present [CH2 not present, CH2 present]	store_ch2_present = NO # CH2 present [CH2 not present, CH2 present]
10030	store_	control_setpoint = NO # Temperature setpoint for the supply from the boiler in degrees C	store_control_setpoint = NO # Temperature setpoint for the supply from the boiler in degrees C
10031	store_	control_setpoint_2 = NO # Temperature setpoint for the supply from the boiler for circuit 2 in degrees C	store_control_setpoint_2 = NO # Temperature setpoint for the supply from the boiler for circuit 2 in degrees C
10032	store_	control_type = NO # Control type [ modulating, on/off ]	store_control_type = NO # Control type [ modulating, on/off ]
10033	store_	cooling_active = NO # Cooling status	store_cooling_active = NO # Cooling status
10034	store_	cooling_control_signal = NO # Signal for cooling plant	store_cooling_control_signal = NO # Signal for cooling plant
10035	store_	cooling_enabled = NO # Cooling enable	store_cooling_enabled = NO # Cooling enable
10036	store_	cooling_supported = NO # Cooling config [ cooling not supported, cooling supported]	store_cooling_supported = NO # Cooling config [ cooling not supported, cooling supported]
10037	store_	day = NO # Day of Month	store_day = NO # Day of Month
10038	store_	dhw_active = NO # DHW mode	store_dhw_active = NO # DHW mode
10039	store_	dhw_burner_operation_hours = NO # Number of hours that burner is in operation during DHW mode	store_dhw_burner_operation_hours = NO # Number of hours that burner is in operation during DHW mode
10050	store_	dhw_burner_starts = NO # Number of starts burner in DHW mode	store_dhw_burner_starts = NO # Number of starts burner in DHW mode
10051	store_	dhw_enabled = NO # DHW enable	store_dhw_enabled = NO # DHW enable
10052	store_	dhw_flow_rate = NO # Water flow rate through the DHW circuit (l/min)	store_dhw_flow_rate = NO # Water flow rate through the DHW circuit (l/min)
10053	store_	dhw_present = NO # DHW present [ dhw not present, dhw is present ]	store_dhw_present = NO # DHW present [ dhw not present, dhw is present ]
10054	store_	dhw_pump_valve_operation_hours = NO # Number of hours that DHW pump has been running or DHW valve has been opened	store_dhw_pump_valve_operation_hours = NO # Number of hours that DHW pump has been running or DHW valve has been opened
10055	store_	dhw_pump_valve_starts = NO # Number of starts DHW pump/valve	store_dhw_pump_valve_starts = NO # Number of starts DHW pump/valve
10056	store_	dhw_setpoint = NO # Domestic hot water temperature setpoint (°C)	store_dhw_setpoint = NO # Domestic hot water temperature setpoint (°C)
10057	store_	dhw_storage_tank_present = NO # DHW config [instantaneous or not-specified, storage tank]	store_dhw_storage_tank_present = NO # DHW config [instantaneous or not-specified, storage tank]
10058	store_	dhw_temperature = NO # Domestic hot water temperature (°C)	store_dhw_temperature = NO # Domestic hot water temperature (°C)
10070	store_	dhw2_temperature = NO # Domestic hot water temperature 2 (°C)	store_dhw2_temperature = NO # Domestic hot water temperature 2 (°C)
10080	store_	dhwsetpoint_lower_bound = NO # Lower bound for adjustment of DHW setp (°C)	store_dhwsetpoint_lower_bound = NO # Lower bound for adjustment of DHW setp (°C)
10090	store_	dhwsetpoint_upper_bound = NO # Upper bound for adjustment of DHW setp (°C)	store_dhwsetpoint_upper_bound = NO # Upper bound for adjustment of DHW setp (°C)
10100	store_	diagnostic_event = NO # Diagnostic Event	store_diagnostic_event = NO # Diagnostic Event
10110	store_	exhaust_temperature = NO # Exhaust temperature (°C)	store_exhaust_temperature = NO # Exhaust temperature (°C)
10111	store_	fault_indication = NO # Fault indication	store_fault_indication = NO # Fault indication
10120	store_	fhb_fault_index = NO # Index number of following Fault Buffer entry	store_fhb_fault_index = NO # Index number of following Fault Buffer entry
10130	store_	fhb_fault_value = NO # Value of above referenced Fault Buffer entry	store_fhb_fault_value = NO # Value of above referenced Fault Buffer entry
10131	store_	flame_active = NO # Flame status	store_flame_active = NO # Flame status
10140	store_	flow_temperature_ch2 = NO # Flow water temperature of the second central heating circuit	store_flow_temperature_ch2 = NO # Flow water temperature of the second central heating circuit
10150	store_	gas_flame_fault = NO # Gas/flame fault [ no G/F fault, gas/flame fault ]	store_gas_flame_fault = NO # Gas/flame fault [ no G/F fault, gas/flame fault ]
10151	store_	hour = NO # Hours	store_hour = NO # Hours
10160	store_	low_water_pressure_fault = NO # Low water press [no WP fault, water pressure fault]	store_low_water_pressure_fault = NO # Low water press [no WP fault, water pressure fault]
10170	store_	manual_setpoint_overrules_remote_setpoint = NO # Manual change priority [0 = disable overruling remote setpoint by manual setpoint change, 1 = enable overruling remote setpoint by manual setpoint change]	store_manual_setpoint_overrules_remote_setpoint = NO # Manual change priority [0 = disable overruling remote setpoint by manual setpoint change, 1 = enable overruling remote setpoint by manual setpoint change]
10180	store_	master_configuration = NO # MemberID code of the master	store_master_configuration = NO # MemberID code of the master
10190	store_	master_control_allowed = NO # Master low-off&pump control function [allowed, not allowed]	store_master_control_allowed = NO # Master low-off&pump control function [allowed, not allowed]
10200	store_	master_product_type = NO # The master device product type as defined by the manufacturer	store_master_product_type = NO # The master device product type as defined by the manufacturer
10201	store_	master_product_version_number = NO # The master device product version number as defined by the manufacturer	store_master_product_version_number = NO # The master device product version number as defined by the manufacturer
10202	store_	max_ch_water_setpoint = NO # Maximum allowable CH water setpoint (°C)	store_max_ch_water_setpoint = NO # Maximum allowable CH water setpoint (°C)
10210	store_	max_chsetp_lower_bound = NO # Lower bound for adjustment of maxCHsetp (°C)	store_max_chsetp_lower_bound = NO # Lower bound for adjustment of maxCHsetp (°C)
10211	store_	max_chsetp_upper_bound = NO # Upper bound for adjustment of maxCHsetp (°C)	store_max_chsetp_upper_bound = NO # Upper bound for adjustment of maxCHsetp (°C)
10220	store_	maximum_boiler_capacity = NO # Maximum boiler capacity (kW)	store_maximum_boiler_capacity = NO # Maximum boiler capacity (kW)
10230	store_	maximum_relative_modulation_level_setting = NO # Maximum relative boiler modulation level setting for sequencer and off-low&pump control applications (%)	store_maximum_relative_modulation_level_setting = NO # Maximum relative boiler modulation level setting for sequencer and off-low&pump control applications (%)
10240	store_	minimum_boiler_modulation = NO # Minimum modulation level (%)	store_minimum_boiler_modulation = NO # Minimum modulation level (%)
10250	store_	minutes = NO # Minutes	store_minutes = NO # Minutes
10260	store_	month = NO # Month	store_month = NO # Month
10270	store_	number_of_tsps = NO # Number of transparent-slave-parameter supported by the slave device	store_number_of_tsps = NO # Number of transparent-slave-parameter supported by the slave device
10280	store_	oem_diagnostic_code = NO # OEM-specific diagnostic/service code	store_oem_diagnostic_code = NO # OEM-specific diagnostic/service code
10290	store_	oem_fault_code = NO # OEM fault code u8 0..255 An OEM-specific fault/error code	store_oem_fault_code = NO # OEM fault code u8 0..255 An OEM-specific fault/error code
10300	store_	opentherm_version_master = NO # The implemented version of the OpenTherm Protocol Specification in the master	store_opentherm_version_master = NO # The implemented version of the OpenTherm Protocol Specification in the master
10310	store_	opentherm_version_slave = NO # The implemented version of the OpenTherm Protocol Specification in the slave	store_opentherm_version_slave = NO # The implemented version of the OpenTherm Protocol Specification in the slave
10320	store_	otc_active = NO # OTC active	store_otc_active = NO # OTC active
10330	store_	outside_temperature = NO # Outside air temperature (°C)	store_outside_temperature = NO # Outside air temperature (°C)
10480	store_	program_change_setpoint_overrides_remote_setpoint = NO # Program change priority [0 = disable overruling remote setpoint by program setpoint change, 1 = enable overruling remote setpoint by program setpoint change]	store_program_change_setpoint_overrides_remote_setpoint = NO # Program change priority [0 = disable overruling remote setpoint by program setpoint change, 1 = enable overruling remote setpoint by program setpoint change]
10481	store_	relative_modulation_level = NO # Relative modulation level (%)	store_relative_modulation_level = NO # Relative modulation level (%)
10490	store_	remote_override_room_setpoint = NO # Remote override room setpoint (0 = No override)	store_remote_override_room_setpoint = NO # Remote override room setpoint (0 = No override)
10491	store_	remote_reset_enabled = NO # Lockout-reset [ remote reset disabled, rr enabled]	store_remote_reset_enabled = NO # Lockout-reset [ remote reset disabled, rr enabled]
10560	store_	reserved = NO # reserved	store_reserved = NO # reserved
10570	store_	reserved = NO # reserved	store_reserved = NO # reserved
11000	store_	reserved = NO # reserved	store_reserved = NO # reserved
11001	store_	reserved = NO # reserved	store_reserved = NO # reserved
11002	store_	reserved = NO # reserved	store_reserved = NO # reserved
11003	store_	reserved = NO # reserved	store_reserved = NO # reserved
11004	store_	reserved = NO # reserved	store_reserved = NO # reserved
11005	store_	reserved = NO # reserved	store_reserved = NO # reserved
11006	store_	reserved = NO # reserved	store_reserved = NO # reserved
11007	store_	reserved = NO # reserved	store_reserved = NO # reserved
11150	store_	reserved = NO # reserved	store_reserved = NO # reserved
11160	store_	reserved1 = NO # reserved	store_reserved1 = NO # reserved
11170	store_	reserved2 = NO # reserved	store_reserved2 = NO # reserved
11180	store_	reserved3 = NO # reserved	store_reserved3 = NO # reserved
11190	store_	reserved4 = NO # reserved	store_reserved4 = NO # reserved
11200	store_	return_water_temperature = NO # Return water temperature to boiler (°C)	store_return_water_temperature = NO # Return water temperature to boiler (°C)
11210	store_	room_setpoint = NO # Current room temperature setpoint (°C)	store_room_setpoint = NO # Current room temperature setpoint (°C)
11220	store_	room_setpoint_ch2 = NO # Current room setpoint for 2nd CH circuit (°C)	store_room_setpoint_ch2 = NO # Current room setpoint for 2nd CH circuit (°C)
11230	store_	room_temperature = NO # Current sensed room temperature (°C)	store_room_temperature = NO # Current sensed room temperature (°C)
11240	store_	service_required = NO # Service request [service not req’d, service required]	store_service_required = NO # Service request [service not req’d, service required]
11250	store_	size_of_fault_buffer = NO # The size of the fault history buffer	store_size_of_fault_buffer = NO # The size of the fault history buffer
11260	store_	slave_memberID = NO # MemberID code of the slave	store_slave_memberID = NO # MemberID code of the slave
11261	store_	slave_product_type = NO # The slave device product type as defined by the manufacturer	store_slave_product_type = NO # The slave device product type as defined by the manufacturer
11270	store_	slave_product_version_number = NO # The slave device product version number as defined by the manufacturer	store_slave_product_version_number = NO # The slave device product version number as defined by the manufacturer
11271	store_	solar_collector_temperature = NO # Solar collector temperature (°C)	store_solar_collector_temperature = NO # Solar collector temperature (°C)
100010	store_	solar_storage_temperature = NO # Solar storage temperature (°C)	store_solar_storage_temperature = NO # Solar storage temperature (°C)
100011	store_	tsp_index = NO # Index number of following TSP	store_tsp_index = NO # Index number of following TSP
100012	store_	tsp_value = NO # Value of above referenced TSP	store_tsp_value = NO # Value of above referenced TSP
100013	store_	water_over_temperture_fault = NO # Water over-temp[no OvT fault, over-temperat. Fault]	store_water_over_temperture_fault = NO # Water over-temp[no OvT fault, over-temperat. Fault]
100014	store_	weekday = NO # Day of the week (1=Monday)	store_weekday = NO # Day of the week (1=Monday)
100015	store_	year = NO # Year	store_year = NO # Year